## Disclaimer
Our policy is one of continuous development. Accordingly the design of our products may change at any time.
Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only.
Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice.

## Cortec Phase 1 (hidden)
Information required with order
Versions | Order - No.
P12x Overcurrent protection | P12 | 3 |  | 0 | 0 |  |  |  | 1
Variant
Expert - 3 Phase and Earth Overcurrent |  | 3
Earth current input
0.1 - 40 Ion |  |  | A
0.01 - 8 Ion |  |  | B
0.002 - 1 Ion |  |  | C
Auxiliary voltage | Digital input voltage
24 - 60 Vdc | 24 - 60 Vdc |  |  |  |  | A
48 - 150 Vdc | 48 - 150 Vdc |  |  |  |  | F
125 - 250 Vdc /100 - 250 Vac | 105 - 145 Vdc |  |  |  |  | H
130 - 250 Vdc /100 - 250 Vac | 48 - 250 Vdc / 48 - 250 Vac |  |  |  |  | M
48 - 150 Vdc | 48 - 150 Vdc (ac immune) |  |  |  |  | T
130 - 250 Vdc /110 - 250 Vac | 48 - 250 Vdc (ac immune) |  |  |  |  | U
Communication interface
MODBUS | [6 empty] | 1
KBUS / COURIER | [6 empty] | 2
IEC 60870-5-103 | [6 empty] | 3
DNP3 | [6 empty] | 4
Language
French | [7 empty] | 0
English / American | [7 empty] | 1
Spanish | [7 empty] | 2
German | [7 empty] | 3
Italian | [7 empty] | 4
Russian | [7 empty] | 5
Polish | [7 empty] | 6
Portuguese : not available | [7 empty] | 7
Dutch | [7 empty] | 8
Czech | [7 empty] | A
Hungarian | [7 empty] | B
Greek | [7 empty] | C
Turkish : not available | [7 empty] | E
Platform
Phase 1 | [8 empty] | 1

## Cortec
Order form |  |  | MiCOM P123R
Ready-to-use configuration
P12x Overcurrent protection | P12 | 3R |  | 0
Variant
Expert - 3 Phase and Earth Overcurrent |  | 3R
Earth current input
0.01 - 8 Ion |  |  | B
0.002 - 1 Ion |  |  | C
Current Rating
1A |  |  |  |  | 1
5A |  |  |  |  | 5
Auxiliary voltage | Digital input voltage
24 - 250 Vdc / 48 - 240 Vac | 24 - 250 Vdc / 24 - 240 Vac |  |  |  |  | Z
Communication interface
MODBUS | [6 empty] | 1
KBUS / COURIER | [6 empty] | 2
IEC 60870-5-103 | [6 empty] | 3
DNP3 | [6 empty] | 4
Language
French | [7 empty] | 0
English | [7 empty] | 1
Spanish | [7 empty] | 2
German | [7 empty] | 3
Italian | [7 empty] | 4
Russian | [7 empty] | 5
Polish | [7 empty] | 6
Portuguese | [7 empty] | 7
Dutch | [7 empty] | 8
Czech | [7 empty] | A
Hungarian | [7 empty] | B
Greek | [7 empty] | C
Chinese | [7 empty] | D
Turkish | [7 empty] | E
Platform
SE look&feel Phase 2 | [8 empty] | 2
SE look&feel Phase 2 with larger LCD | [8 empty] | 3
Latest Major Software release
V ?.? | [9 empty] | ?
Latest Minor Software release
V ?.? | [10 empty] | ?
Mounting option
None (default) | [11 empty] | 0
Pre-fixed HMI (no withdrawability) | [11 empty] | 1
Sealed cover | [11 empty] | 2
Pre-fixed HMI + Sealed cover | [11 empty] | 3

## Phase 1 to Phase 2 Equivalent (hidden)
MiCOM - P123 - NOMENCLATURE
| 1-3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Phase 1 VARIANT | P12 | 3 |  | 0 | 0 | Z |  |  |  | C | 0 | 0
Phase 2 VARIANT | P12 | 3 |  | 0 | 0 | Z |  |  |  | * | * | 0
This is the direct equivalent to Phase 1 and has option for setting conversion / migration
| 1-3: Other more expansive software version are available but would not provide setting file compatability. | A | A | #REF! | #REF!
| 1-3: Please refer to configurator sheet for additional software availability. | F | F | #REF! | #REF!
[13 empty] | H | H | #REF! | #REF!
[13 empty] | M | F | #REF! | #REF!
[13 empty] | T | T | #REF! | #REF!
[13 empty] | U | T | #REF! | #REF!
[13 empty] | V | V | #REF! | #REF!
[13 empty] | W | W | #REF! | #REF!
[13 empty] | Z | Z | #REF! | #REF!

## Configurator
Order form configurator | MiCOM P123R
Only available at Wuxi Manufacturing Unit | Ready-to-use configuration
| 1-5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Expert Three Phase and Earth Overcurrent Relay | P123R | B | 0 | 1 | Z | 1 | 0 | 2 | C | E | 0
Options available are derived from the last version available with the specified hardware version ( i.e. using this date -------------->) | Ready-to-use configuration 1-5: 2026-07-30
SAP PART NUMBER | Ready-to-use configuration 1-5: E123RB01Z102CE0
Earth Current Input | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 6; Ready-to-use configuration 8 to Ready-to-use configuration 11
B
Current Rating | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
1
Auxiliary Voltage / Digital Input Voltage | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
24-250Vdc/48-240Vac, 24-250Vdc/24-240Vac | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
Communication | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
1
HMI (Human / Machine Interface) Language | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
0
Hardware Version | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11
Phase 2 with standard display | Ready-to-use configuration 1-5: 2
Software Version | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 12
Version 12.E | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 12
Mounting Option | bar: Ready-to-use configuration 1-5 to Ready-to-use configuration 11; Ready-to-use configuration 13 to Ready-to-use configuration 14
0

## Master Text
P123RB01Z102CE0
Three Phase and Earth protection, Retrofit variant to replace KCGG122/142
Earth Current Input :
0.01 to 8 Ion x Nominal Earth Current
Current Rating :
1A
Voltage Ranges :
Auxiliary Voltage : 24-250Vdc/48-240Vac ; Digital Input Voltage : 24-250Vdc/24-240Vac
Communication Protocol :
MODBUS
HMI Language :
French
Hardware Version :
Phase 2 with standard display
Software Version :
Version 12.E
Mounting option :
None (Default)

## BOM
P123RB01Z102CE0 | Requirement Keys | [8 empty] | Attribute Keys |  |  |  |  | Quantity | Location
| 5 | 6 | 7 | 8 | 9 | 10 | 12 | 15 |  |  | Item | Description | Quantity | Location
[11 empty] | E2072046A01 | Case and Chassis | 1 | 1, 4 | 1 | 1, 4
[7 empty] | 2 |  | 2 | 2 | E518414101 | Assy front interface 20TE | 1 | 2, 3, 6, 11, 12, 23 | 1 | 2, 3, 6, 11, 12, 23
[7 empty] | 2 |  | 2 | 3 | E518414114 | Assy front interface 20TE | 1 | 2, 3, 6, 11, 12, 23
|  |  |  | 1 |  |  |  |  | 1 | 1 | EGN0013095 | Terminal Block 14 Way | 1 | 5 | 1 | 5
|  |  |  | 1 |  |  |  |  | 1 | 5 | EGN0013096 | Terminal Block 14 Way | 1 | 5
|  | B |  | 1 |  |  |  |  | B1 | B1 | E2072055A02 | Power Supply Board | 1 | 7 | 1 | 7
|  | B |  | 1 |  |  |  |  | B1 | C1 | E2072055A03 | Power Supply Board | 1 | 7
|  | B |  | 1 |  |  |  |  | B1 | B5 | E2072055A05 | Power Supply Board | 1 | 7
|  | B |  | 1 |  |  |  |  | B1 | C5 | E2072055A06 | Power Supply Board | 1 | 7
[11 empty] | E2071994A01 | Extension Board | 1 | 15 | 1 | 15
[7 empty] | 2 | 0 | 20 | 23 | EGN0055001 | Sealed cover 20 TE | 1 | 8
[7 empty] | 2 | 0 | 20 | 33 | EGN0055002 | Sealed cover 20 TE | 1 | 8
[7 empty] | 2 | 0 | 20 | 22 | EGN0055001 | Sealed cover 20 TE | 1 | 8
[7 empty] | 2 | 0 | 20 | 32 | EGN0055002 | Sealed cover 20 TE | 1 | 8
[11 empty] | EZB4018119 | Self tapping screw Size: 4x5.60mm/6.35mm | 4 | 19 | 4 | 19
[11 empty] | EZB5321126 | Screw M3x16 Recessed Pan Head Steel | 4 | 9 | 4 | 9
[11 empty] | EZB5017036 | Washer Spring Single Coil M3 Steel | 4 | 13 | 4 | 13
[11 empty] | EZB4018118 | Self tapping screw flange head size 4x1/4" | 12 | 10 | 12 | 10
[11 empty] | E517725101 | Product Label | 4 | 17 | 4 | 17
[11 empty] | E517681101 | 2 way connector assy PSU board (PL3) | 1 | 20 | 1 | 20
[11 empty] | E2072052 | 2 way connector assy PSU board (PL4) | 1 | 22 | 1 | 22
[11 empty] | E2072053 | 2 way connector assy PSU board (PL5) | 1 | 21 | 1 | 21
[11 empty] | E2072054 | 1 way connector link | 2 | 25 | 2 | 25
[11 empty] | E517837101 | Extractor | 1 | 24 | 1 | 24
[11 empty] | E843992001 | Cable tie | 3 |  | 3
[11 empty] | E517719101 | Screws kit | 1 |  | 1
[11 empty] | E2072032 | Connection Diagram | 1 |  | 1
[11 empty] | E518327101 | 20 TE Package | 1 |  | 1
[11 empty] | E517060101 | Operator Label | 4 |  | 1

## Change Log
Issue : 001 - Initial release as at 17/09/12

## Tendering
WPF only |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Cortec Landing cell : | P123RC05Z2A2CE0 | P | 1 | 2 | 3 | R | C | 0 | 5 | Z | 2 | A | 2 | C | E | 0
Configurator feedback : | P123RB01Z102CE0 | P | 1 | 2 | 3 | R | B | 0 | 1 | Z | 1 | 0 | 2 | C | E | 0 | double digit in same row
Cortec digit control 1 | [17 empty] | 1 | bar: 1
Cortec digit control 2 | [17 empty] | 2 | bar: 2
Cortec digit control 3 |  | 3: 2 |  | 3
Cortec digit control 4 |  | 4: 3 |  | 4
Cortec digit control 5 | [17 empty] | 5 | bar: 5
Earth Current Input | 1 | [16 empty] | 6 | bar: 6
Constant |  | 7: 0 |  | 7
Current Rating | 1 | [16 empty] | 8 | bar: 8
Constant | [17 empty] | 9 | bar: 9
Communication | 1 | [16 empty] | 10 | bar: 10
HMI (Human / Machine Interface) Language | 1 | 11: 0 |  | 11
Constant |  | 12: 2 |  | 12
Constant | [17 empty] | 13 | bar: 13 to 14
Mounting Option | 1 | 15: 0 |  | 14
0
0
0
0
0
0
0
0
0
0
0
0
Authorized?

## Database (hidden)
1 | 0.01 to 8 Ion | B
2 | 0.002 to 1 Ion | C
1 | 1A | 1
2 | 5A | 5
1 | MODBUS | 1
2 | KBUS/COURIER | 2
3 | IEC60870-5-103 | 3
4 | DNP3 | 4
1 | French | 0
2 | English | 1
3 | Spanish | 2
4 | German | 3
5 | Italian | 4
6 | Russian | 5
7 | Polish | 6
8 | Portuguese | 7
9 | Dutch | 8
10 | Czech | A
11 | Hungarian | B
12 | Greek | C
13 | Chinese | D
14 | Turkish | E
1 | None (Default) | 0
2 | Pre-Fixed HMI (no withdrawability) | 1
3 | Sealed Cover | 2
4 | Pre-Fixed HMI + Sealed Cover | 3