## Disclaimer
Our policy is one of continuous development. Accordingly the design of our products may change at any time.
Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only.
Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice.

## Cortec
Order form |  | MiCOM P127
Ready-to-use configuration
P12x Overcurrent protection | P12 | 7
Variant
Directional/non-directional three phase overcurrent and directional/non-directional earth fault relay |  | 7
Earth current input
0.1 to 40 Ion |  |  | A
0.01 to 8 Ion |  |  | B
0.002 to 1 Ion |  |  | C
Voltage input
57 - 130 V |  |  |  | A
220 - 480 V |  |  |  | B
Optional features
None |  |  |  |  | 0
Additional 5 digital inputs 1) |  |  |  |  | 1
IRIG-B inputs + additional 2nd rear port 1) |  |  |  |  | 2
IRIG-B inputs + additional 2nd rear port + additional 5 digital inputs 1) |  |  |  |  | 3
Measurement CTs 8) |  |  |  |  | 4
Measurement CTs + additional 5 digital inputs 8) |  |  |  |  | 5
Measurement CTs + IRIG-B input + additional 2nd rear port 8) |  |  |  |  | 6
Measurement CTs + IRIG-B input + additional 2nd rear port + additional 5 digital inputs 8) |  |  |  |  | 7
Auxiliary voltage | Digital input voltage
48 - 250 Vdc / 48 - 240 Vac | 105 - 145 Vdc (special application) |  |  |  |  | H
48 - 250 Vdc / 48 - 240 Vac | 24 - 250 Vdc |  |  |  |  | T
48 - 250 Vdc / 48 - 240 Vac | 110 Vdc -30% / +20% (special application) |  |  |  |  | V
48 - 250 Vdc / 48 - 240 Vac | 220 Vdc -30% / +20% (special application) |  |  |  |  | W
24 - 250 Vdc / 48 - 240 Vac | 24 - 250 Vdc / 24 - 240 Vac |  |  |  |  | Z
Communication interface
MODBUS / MODBUS (if 2nd RS485 available) | [6 empty] | 1
KBUS / COURIER / MODBUS - not available 3) | [6 empty] | 2
IEC60870-5-103 / MODBUS (if 2nd RS485 available) | [6 empty] | 3
DNP3 / MODBUS (if 2nd RS485 available) 4) | [6 empty] | 4
IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) 9) | [6 empty] | 5
Modbus TCP/IP / Modbus (if 2nd RS485 available) 10) |  | (with voltage V&W only) |  |  |  |  | 6
IEC60870-5-103 Eth / Modbus (if 2nd RS485 available) 10) |  | (with voltage V&W only) |  |  |  |  | 7
Language
French | [7 empty] | 0
English / American | [7 empty] | 1
Spanish | [7 empty] | 2
German | [7 empty] | 3
Italian | [7 empty] | 4
Russian | [7 empty] | 5
Polish | [7 empty] | 6
Portuguese | [7 empty] | 7
Dutch | [7 empty] | 8
Czech | [7 empty] | A
Hungarian | [7 empty] | B
Greek 3) | [7 empty] | C
Turkish 5) | [7 empty] | E
Chinese 6) | [7 empty] | D
Platform
SE look&feel Phase 2 | [8 empty] | 2
SE look&feel Phase 2 with larger LCD | [8 empty] | 3
Latest Major Software release
V ?.? | [9 empty] | ?
Latest Minor Software release
V ?.? | [10 empty] | ?
Mounting option
None (default) 7) | [11 empty] | 0
Pre-fixed HMI (no withdrawability) | [11 empty] | 1
Sealed Cover 7) | [11 empty] | 2
Pre-fixed HMI + Sealed Cover | [11 empty] | 3
NOTES :
1) Only available with Phase 2 Hardware and V11.C , or later, firmware
3) Not available
4) Only available with software version V11, or later, firmware
5) Only available with software version V11.B, or later, firmware
6) Only available with Phase 2 Hardware with larger LCD
7) Not available with Auxiliary voltage/Digital input voltage code T
8) Only available with larger LCD and V14.A , or later, firmware
9) Only available with additional 2nd rear port (RS485)
10) For China only. Inquiry out of China, please contact product manager before tendering

## Configurator
Order form configurator | MiCOM P127
Ready-to-use configuration
To enable only current variants to be offered, please specify ACTUAL or REQUIRED delivery date here ---> | 2026-07-30
| 1-3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Directional/non-directional overcurrent and Directional/non-directional earth fault relay | P12 | 7 | B | A | 6 | Z | 1 | 1 | 3 | G | A | 0
SAP PART NUMBER | 2026-07-30 1-3: E127BA6Z113GA0
Earth Current Input | bar: 2026-07-30 1-3 to 2026-07-30 10
B
Voltage Input | bar: 2026-07-30 1-3 to 2026-07-30 10
A
Optional Features | bar: 2026-07-30 1-3 to 2026-07-30 10
6
Auxiliary Voltage / Digital Input Voltage | bar: 2026-07-30 1-3 to 2026-07-30 10
Z
Communication | bar: 2026-07-30 1-3 to 2026-07-30 10
1
Default HMI (Human / Machine Interface) Language | bar: 2026-07-30 1-3 to 2026-07-30 10
1
Hardware Version | bar: 2026-07-30 1-3 to 2026-07-30 10
Phase 2 with larger LCD | 2026-07-30 1-3: 3
Software Version : | bar: 2026-07-30 1-3 to 2026-07-30 11
GA
Mounting Option : | bar: 2026-07-30 1-3 to 2026-07-30 10; 2026-07-30 12 to 2026-07-30 13
0

## Change Log
Issue : 1 - As at 01/03/07 Derived from P125-6-7 Cortec
Issue : 2 - As at 13/04/07 Master Text logic now excludes Software Version for Phase 1
Issue : 3 - As at 20/04/07 Date Drivers amended to include conditional protocol and language statements & to correct Software Version
Issue : 4 - As at 26/06/07 Reconfigured to use phase selected dates & amend software version per CID SBIA-74EHVF, communication protocols & languages per F Taesch's e-mail dated 20/06/07
Issue : 5 - As at 29/06/07 Retrospective correction of software to V10.D/AD (was V10.G/AG in error).
Issue : 6 - As at 17/07/07 Retrospective re-addition of Voltage Input to Phase 1 Cortec & master Text (was "0" in error).
Issue : 7 - As at 01/08/07 Cortec Phase 2 & Database amended to show revised availability message for Options V & W per F Taesch's e-mail dated 31/07/07.
Issue : 8 - As at 20/12/07 SW V11.B phase 2 released as per SBIA-79ZCKA, release includes addition of Turkish language option
Issue : 9 - As at 20/12/07 SW V11.A (EDF C15-400) phase 2 added per email Guilhen dated 22/01/08 - 22/01/08
Issue : 10 - As at 20/12/07 SW V11.A (EDF C15-400) phase 2 made available in all cases EXCEPT those with Aux Voltage codes H, V and W per telecon with Guilhen 23/01/08 - 30/01/08
Issue : 11 - As at 20/12/078 Configurator and Master Text lookup array corrected for Software version description (V11A wasn't in the array) - 12/03/08
Issue : 12 - Worksheet added showing Phase 2 equivalent of any Phase 1 configuration - 23/06/08
Issue : 13 - As at 23/07/08 table added to select software options dependant on version, voltage and language in line with F Taesch's synthesis dated 17/07/08
Issue : 14 - Retrospective change to T option text (was "ac immune") 14/10/08
Issue : 15 - Retrospective change to Master Text lookup array for software version - 27/01/09
Issue : 16 - SBIA-7S6FBV releases Universal Power Supply, Optional Mounting Variants and V11.C software version - 26/06/09
Issue : 17 - Date Drivers and Database corrected for Aux/Digital volts options for Phase 1 - 08/07/09
Issue : 18 - Database corrected to allow hardware options (digit 14) with any available software option for Phase 2 per F Taesch's e-mail of 23/07/09 - 23/07/09
Issue : 19 - Database corrected per G Giannitelli's verification - 04/08/09
Issue : 20 - Further Database and BOM corrections per G Giannitelli's verification - 19/08/09
Issue : 21 - Database array correctly sorted to apply option corrections per F Taesch's e-mail - 19/08/09
Issue : 22 - Further Database and BOM corrections per G Giannitelli's verification & Macro removed for demostration purposes - 20/08/09
Issue : 23 - Cosmetic changes to standardise all Px2x Cortecs - 25/09/09
Issue : 24 - CID SBIA-7W8BWW - 30/09/09
Issue : 25 - CID SBIA-85BC9X addition of 2CTs measurement - 30/06/10
Issue : 26 - Auxiliary Voltage rating for Universal Power Supply option, 'Z', amended to 24-250Vdc/48-240Vac as per CBUN-8ATCQF - 03/11/10
Issue : 27 - SW Version V13.A withdrawn as per SBIA-8DPDSD - 15/02/11
Issue : 28 - CID SBIA-8EQDRU : SW V14.A released - 16/03/11
Issue : 29 - Phase 1 removed from configurator, SW availability updated as per rationalisation project - 31/05/11
Issue : 30 - SW versions 10D & 12A reintegrated to cortec under rationalization project - 07/06/11
Issue : 31 - SW V15.A released per SBIA-8MCH3D, V14.A invalidated with IEC103 protocol - 21/10/11
Issue : 32 - Tendering sheet added - 13/02/12
Issue : 33 - SW version V15.B released as per SBIA-8RHJWV - 21/02/12
Issue : 34 - SW version V15.C released as per SBIA-8YNCWZ - 10/10/12
Issue : 35 - As per SBIA-8ZYH6M - SW versions V11.C, V12.A, V14.A & V15.A invalidated for Chinese language option - 06/12/12
Issue : 36 - Equipped PCBAs introduced - 13/08/13
Issue : 37 - As per SBIA-99EB8S - SW version V15.A removed from option
Issue : 38 - As per BLII-9AMCR4 - SW version V15.D released along with Comms options 6 & 7 - 03/09/13
Issue : 39 - SW versions (V10.D & V11.C) obsoleted per SBIA-9AYGDB- 10/09/13
Issue : 40 - SW version V10.D released per SBIA-9CTB9P- 06/11/13
Issue : 41 - SW version V15.E released per RKLI-9KA9JE - V15.D withdrawn 09/06/14
Issue : 42 - As per RKLI-9KRAXG - Graphical Display option with SW V15.B &V15.C withdrawn - 13/06/14
Issue : 43 - As per RKLI-9TC5Y2 S/W version 14.A withdrawn from offer - 12/2/15
Issue : 44 - As per RKLI-AK9KE5 S/W version 16.A released - 15/06/17

## Master Text
P127BA6Z113GA0
Directional/non-directional overcurrent and directional/non-directional earth fault relay
Earth Current Input :
0.01 to 8 Ion
Voltage Input :
57 - 130 V
Optional Features :
Measurement CTs + IRIG-B input + additional 2nd rear port
Auxiliary Voltage :
24 - 250 Vdc / 48 - 240 Vac
Digital Input Voltage :
24 - 250 Vdc / 24 - 240 Vac
Communication Protocol :
MODBUS / MODBUS (if 2nd RS485 available)
Default HMI Language :
English / American
Hardware Version :
Phase 2 with larger LCD
Software Version :
Software Version V16.A
Mounting Option :
None (default)

## BOM
P127BA6Z113GA0 | Requirement Keys | [8 empty] | Attribute Keys |  |  |  |  | Quantity | Location
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 14 |  |  | Item | Description | Quantity | Location
| B |  |  | Z |  |  | 3 |  | BZ3 | AA2 | E20715093A | I/O Board 3A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AA3 | E20715093A | I/O Board 3A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AF2 | E20720773F | I/O Board 3F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AT2 | E20720773F | I/O Board 3F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AF3 | E20720773F | I/O Board 3F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AT3 | E20720773F | I/O Board 3F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BA2 | E20715094A | I/O Board 4A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BA3 | E20715094A | I/O Board 4A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BF2 | E20720774F | I/O Board 4F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BT2 | E20720774F | I/O Board 4F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BF3 | E20720774F | I/O Board 4F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BT3 | E20720774F | I/O Board 4F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CA2 | E20715096A | I/O Board 6A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CA3 | E20715096A | I/O Board 6A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CF2 | E20715096F | I/O Board 6F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CT2 | E20715096F | I/O Board 6F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CF3 | E20715096F | I/O Board 6F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CT3 | E20715096F | I/O Board 6F | 1 | 7
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0A2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0F2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0T2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0Z2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0A3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0F3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0T3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0Z3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1A2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1F2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1T2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1Z2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1A3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1F3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1T3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1Z3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2A2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2F2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2T2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2Z2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2A3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2F3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2T3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2Z3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3A2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3F2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3T2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3Z2 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3A3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3F3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3T3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3Z3 | E2072078A0 | Extension Board A | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4A3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5A3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6A3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7A3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4F3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5F3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6F3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7F3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4T3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5T3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6T3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7T3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4Z3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5Z3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6Z3 | E2071510A2 | Extension Board A2 | 1 | 15 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7Z3 | E2071510A2 | Extension Board A2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0A2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0F2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0T2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0Z2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0A3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0F3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0T3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0Z3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1A2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1F2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1T2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1Z2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1A3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1F3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1T3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1Z3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2A2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2F2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2T2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2Z2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2A3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2F3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2T3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2Z3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3A2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3F2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3T2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3Z2 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3A3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3F3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3T3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3Z3 | E2071510B0 | Extension Board B | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4A3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5A3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6A3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7A3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4F3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5F3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6F3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7F3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4T3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5T3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6T3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7T3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4Z3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5Z3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6Z3 | E2071510B2 | Extension Board B2 | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7Z3 | E2071510B2 | Extension Board B2 | 1 | 15
| B |  |  | Z |  |  | 3 |  | BZ3 | AH2 | E20715113H | I/O Board 3H | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AH3 | E20715113H | I/O Board 3H | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV12 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV13 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV22 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV23 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV32 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV33 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV42 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV43 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV52 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV53 | E20715113V | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV62 | E2071511CV | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV63 | E2071511CV | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV72 | E2071511CV | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AV73 | E2071511CV | I/O Board 3V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW12 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW13 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW22 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW23 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW32 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW33 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW42 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW43 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW52 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW53 | E20715113W | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW62 | E2071511CW | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW63 | E2071511CW | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW72 | E2071511CW | I/O Board 3W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | AW73 | E2071511CW | I/O Board 3W | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BH2 | E20715114H | I/O Board 4H | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BH3 | E20715114H | I/O Board 4H | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV12 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV13 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV22 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV23 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV32 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV33 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV42 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV43 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV52 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV53 | E20720794V | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV62 | E2071511DV | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV63 | E2071511DV | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV72 | E2071511DV | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BV73 | E2071511DV | I/O Board 4V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW12 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW13 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW22 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW23 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW32 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW33 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW42 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW43 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW52 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW53 | E20720794W | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW62 | E2071511DW | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW63 | E2071511DW | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW72 | E2071511DW | I/O Board 4W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | BW73 | E2071511DW | I/O Board 4W | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CH2 | E20715116H | I/O Board 6H | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CH3 | E20715116H | I/O Board 6H | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV12 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV13 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV22 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV23 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV32 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV33 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV42 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV43 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV52 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV53 | E20715116V | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV62 | E2071511EV | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV63 | E2071511EV | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV72 | E2071511EV | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CV73 | E2071511EV | I/O Board 6V | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW12 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW13 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW22 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW23 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW32 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW33 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW42 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW43 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW52 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW53 | E20720796W | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW62 | E2071511EW | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW63 | E2071511EW | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW72 | E2071511EW | I/O Board 6W | 1 | 7
| B |  |  | Z | 1 |  | 3 |  | BZ13 | CW73 | E2071511EW | I/O Board 6W | 1 | 7
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4H3 | E20715123H | Extension Board 3H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5H3 | E20715123H | Extension Board 3H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6H3 | E20715123H | Extension Board 3H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7H3 | E20715123H | Extension Board 3H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4V3 | E20715123V | Extension Board 3V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5V3 | E20715123V | Extension Board 3V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6V3 | E20715123V | Extension Board 3V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7V3 | E20715123V | Extension Board 3V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A4W3 | E20715123W | Extension Board 3W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A5W3 | E20715123W | Extension Board 3W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A6W3 | E20715123W | Extension Board 3W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A7W3 | E20715123W | Extension Board 3W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4H3 | E20715124H | Extension Board 4H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5H3 | E20715124H | Extension Board 4H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6H3 | E20715124H | Extension Board 4H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7H3 | E20715124H | Extension Board 4H | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4V3 | E20715124V | Extension Board 4V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5V3 | E20715124V | Extension Board 4V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6V3 | E20715124V | Extension Board 4V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7V3 | E20715124V | Extension Board 4V | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B4W3 | E20715124W | Extension Board 4W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B5W3 | E20715124W | Extension Board 4W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B6W3 | E20715124W | Extension Board 4W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B7W3 | E20715124W | Extension Board 4W | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0H2 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0H3 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1H2 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1H3 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2H2 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2H3 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3H2 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3H3 | E2071512AH | Extension Board AH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0V2 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0V3 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1V2 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1V3 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2V2 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2V3 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3V2 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3V3 | E2072080AV | Extension Board AV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0W2 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A0W3 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1W2 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A1W3 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2W2 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A2W3 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3W2 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | A3W3 | E2072080AW | Extension Board AW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0H2 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0H3 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1H2 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1H3 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2H2 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2H3 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3H2 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3H3 | E2071512BH | Extension Board BH | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0V2 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0V3 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1V2 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1V3 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2V2 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2V3 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3V2 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3V3 | E2071512BV | Extension Board BV | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0W2 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B0W3 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1W2 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B1W3 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2W2 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B2W3 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3W2 | E2071512BW | Extension Board BW | 1 | 15
|  | A | 6 | Z |  |  | 3 |  | A6Z3 | B3W3 | E2071512BW | Extension Board BW | 1 | 15
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1A2 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1F2 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1T2 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1Z2 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1A3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5A3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1F3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5F3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1T3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5T3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1Z3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5Z3 | E207176901 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2A2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2F2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2T2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2Z2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2A3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6A3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2F3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6F3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2T3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6T3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2Z3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6Z3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16 | 1
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2H2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2V2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2W2 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2H3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2V3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 2W3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6H3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6V3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 6W3 | E207176902 | IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3A2 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3F2 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3T2 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3Z2 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3A3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7A3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3F3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7F3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3T3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7T3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3Z3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7Z3 | E207176903 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1H2 | E207177101 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1H3 | E207177101 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5H3 | E207177101 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3H2 | E207177102 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3H3 | E207177102 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7H3 | E207177102 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1V2 | E207177103 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1V3 | E207177103 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5V3 | E207177103 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3V2 | E207177104 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3V3 | E207177104 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7V3 | E207177104 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1W2 | E207177105 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 1W3 | E207177105 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 5W3 | E207177105 | 5 opto board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3W2 | E207177106 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 3W3 | E207177106 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
|  |  | 6 | Z |  |  | 3 |  | 6Z3 | 7W3 | E207177106 | 5 opto + IRIG-B + 2nd rear port board | 1 | 16
| B |  |  | Z |  |  | 3 |  | BZ3 | AZ2 | E20720813Z | I/O Board 3Z | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AZ3 | E20720813Z | I/O Board 3Z | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BZ2 | E20720814Z | I/O Board 4Z | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BZ3 | E20720814Z | I/O Board 4Z | 1 | 7 | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CZ2 | E20718236Z | I/O Board 6Z | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CZ3 | E20718236Z | I/O Board 6Z | 1 | 7
|  |  | 6 |  |  |  | 3 |  | 63 | 22 | E207182601 | BNC Adapter | 1 | 11
|  |  | 6 |  |  |  | 3 |  | 63 | 32 | E207182601 | BNC Adapter | 1 | 11
|  |  | 6 |  |  |  | 3 |  | 63 | 23 | E207182601 | BNC Adapter | 1 | 11
|  |  | 6 |  |  |  | 3 |  | 63 | 33 | E207182601 | BNC Adapter | 1 | 11
|  |  | 6 |  |  |  | 3 |  | 63 | 63 | E207182601 | BNC Adapter | 1 | 11 | 1 | 11
|  |  | 6 |  |  |  | 3 |  | 63 | 73 | E207182601 | BNC Adapter | 1 | 11
[11 empty] | E517060101 | Operator Label | 4 |  | 4
|  |  | 6 | [5 empty] | 6 | 2 | E517681101 | 2 Pt 2 Wire Connector | 2 | PL2
|  |  | 6 | [5 empty] | 6 | 3 | E517681101 | 2 Pt 2 Wire Connector | 2 | PL2
|  |  | 6 | [5 empty] | 6 | 6 | E517681101 | 2 Pt 2 Wire Connector | 2 | PL2 | 2 | PL2
|  |  | 6 | [5 empty] | 6 | 7 | E517681101 | 2 Pt 2 Wire Connector | 2 | PL2
|  |  | 6 | [5 empty] | 6 | 2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL1
|  |  | 6 | [5 empty] | 6 | 3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL1
|  |  | 6 | [5 empty] | 6 | 6 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL1 | 1 | PL1
|  |  | 6 | [5 empty] | 6 | 7 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL1
|  |  |  | Z |  |  |  |  | Z | H | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
| B |  |  | Z |  |  |  |  | BZ | AV | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
| B |  |  | Z |  |  |  |  | BZ | CV | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
| B |  |  | Z |  |  |  |  | BZ | CT | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
| B |  |  | Z |  |  |  |  | BZ | AW | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
| B |  |  | Z |  |  |  |  | BZ | CZ | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
|  |  |  | Z |  |  |  |  | Z | H | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
| B |  |  | Z |  |  |  |  | BZ | AV | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
| B |  |  | Z |  |  |  |  | BZ | CV | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
| B |  |  | Z |  |  |  |  | BZ | CT | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
| B |  |  | Z |  |  |  |  | BZ | AW | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
| B |  |  | Z |  |  |  |  | BZ | CZ | E517681102 | 4 Pt 3 Wire Connector | 1 | PL5 I/O
|  |  |  | Z |  |  |  |  | Z | H | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 Extension
|  | A |  | Z |  |  |  |  | AZ | BT | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 Extension
|  | A |  | Z |  |  |  |  | AZ | BZ | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 Extension
|  | A |  | Z |  |  |  |  | AZ | BV | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 Extension
|  | A |  | Z |  |  |  |  | AZ | BW | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 Extension
|  |  |  | Z |  |  |  |  | Z | H | E517681101 | 2 Pt 2 Wire Connector | 1 | PL4 Extension
|  | A |  | Z |  |  |  |  | AZ | BT | E517681101 | 2 Pt 2 Wire Connector | 1 | PL4 Extension
|  | A |  | Z |  |  |  |  | AZ | BZ | E517681101 | 2 Pt 2 Wire Connector | 1 | PL4 Extension
|  | A |  | Z |  |  |  |  | AZ | BV | E517681101 | 2 Pt 2 Wire Connector | 1 | PL4 Extension
|  | A |  | Z |  |  |  |  | AZ | BW | E517681101 | 2 Pt 2 Wire Connector | 1 | PL4 Extension
|  |  |  | Z | 1 |  |  |  | Z1 | H1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AV1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CV1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CT1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AW1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ1 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
|  |  |  | Z | 1 |  |  |  | Z1 | H2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AV2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CV2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CT2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AW2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ2 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
|  |  |  | Z | 1 |  |  |  | Z1 | H4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AV4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CV4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CT4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AW4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ4 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
|  |  |  | Z | 1 |  |  |  | Z1 | H5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AV5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CV5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CT5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AW5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ5 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
|  |  |  | Z | 1 |  |  |  | Z1 | H3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AV3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CV3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CT3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | AW3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ3 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
[5 empty] | 1 |  |  |  | 1 | 6 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
[5 empty] | 1 |  |  |  | 1 | 7 | E517681103 | 4 Pt 4 Wire Connector | 1 | PL4 I/O
[5 empty] | 1 |  |  |  | 1 | 6 | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
[5 empty] | 1 |  |  |  | 1 | 7 | E517681101 | 2 Pt 2 Wire Connector | 1 | PL3 I/O
[5 empty] | 1 |  |  |  | 1 | 6 | EA05001030 | 4 Way Connector | 1 | PL485
[5 empty] | 1 |  |  |  | 1 | 7 | EA05001030 | 4 Way Connector | 1 | PL485
[5 empty] | 1 |  |  |  | 1 | 6 | EA05001029 | 2 Way Power Connector | 1 | PL12
[5 empty] | 1 |  |  |  | 1 | 7 | EA05001029 | 2 Way Power Connector | 1 | PL12
[11 empty] | E517719101 | Screw Pack | 1 |  | 1
[11 empty] | E517725101 | Product Label | 4 | 17 | 4 | 17
[11 empty] | E517837101 | Extractor | 2 |  | 2
|  | A |  | Z |  |  | 3 |  | AZ3 | AA1 | E5179861AA | Extension Board AA | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | AF1 | E5179861AF | Extension Board AF | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | AM1 | E5179861AM | Extension Board AM | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | AT1 | E5179861AT | Extension Board AT | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | AU1 | E5179861AU | Extension Board AU | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | BA1 | E5179861BA | Extension Board BA | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | BF1 | E5179861BF | Extension Board BF | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | BM1 | E5179861BM | Extension Board BM | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | BT1 | E5179861BT | Extension Board BT | 1 | 15
|  | A |  | Z |  |  | 3 |  | AZ3 | BU1 | E5179861BU | Extension Board BU | 1 | 15
| B |  |  | Z |  |  | 3 |  | BZ3 | AA1 | E51800113A | I/O Board 3A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AF1 | E51800113F | I/O Board 3F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AM1 | E51800113M | I/O Board 3M | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AT1 | E51800113T | I/O Board 3T | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | AU1 | E51800113U | I/O Board 3U | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BA1 | E51800114A | I/O Board 4A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BF1 | E51800114F | I/O Board 4F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BM1 | E51800114M | I/O Board 4M | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BT1 | E51800114T | I/O Board 4T | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | BU1 | E51800114U | I/O Board 4U | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CA1 | E51800116A | I/O Board 6A | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CF1 | E51800116F | I/O Board 6F | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CM1 | E51800116M | I/O Board 6M | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CT1 | E51800116T | I/O Board 6T | 1 | 7
| B |  |  | Z |  |  | 3 |  | BZ3 | CU1 | E51800116U | I/O Board 6U | 1 | 7
[11 empty] | E518326103 | Connection Diagram P125-26-27 | 1 |  | 1
[11 empty] | E518327102 | 30TE Cardboard Box | 1 |  | 1
[7 empty] | 3 |  | 3 | 1 | E518355101 | UL Label | 1
[7 empty] | 3 |  | 3 | 1 | E518414109 | Front Membrane assembly Phase 1 | 1 | 2, 3, 6, 25, 26, 27, 28
[7 empty] | 3 |  | 3 | 2 | E518414110 | Front Membrane assembly Phase 2 | 1 | 2, 3, 6, 29
[7 empty] | 3 |  | 3 | 3 | E518414113 | Front Membrane assembly Phase 2 graphic | 1 | 2, 3, 6, 29 | 1 | 2, 3, 6, 29
[11 empty] | E843992001 | Cable Ties | 6 |  | 6
|  |  | 6 | [5 empty] | 6 | 1 | E843992001 | Cable Ties | 3
|  |  | 6 | [5 empty] | 6 | 2 | E843992001 | Cable Ties | 3
|  |  | 6 | [5 empty] | 6 | 3 | E843992001 | Cable Ties | 3
|  |  | 6 | [5 empty] | 6 | 4 | E843992001 | Cable Ties | 2
|  |  | 6 | [5 empty] | 6 | 5 | E843992001 | Cable Ties | 5
|  |  | 6 | [5 empty] | 6 | 6 | E843992001 | Cable Ties | 5 |  | 5
|  |  | 6 | [5 empty] | 6 | 7 | E843992001 | Cable Ties | 5
|  |  |  | Z | 1 |  |  |  | Z1 | H1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AV1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CV1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CT1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AW1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ1 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
|  |  |  | Z | 1 |  |  |  | Z1 | H2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AV2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CV2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CT2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AW2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ2 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
|  |  |  | Z | 1 |  |  |  | Z1 | H3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AV3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CV3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CT3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AW3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ3 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
|  |  |  | Z | 1 |  |  |  | Z1 | H4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AV4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CV4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CT4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AW4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ4 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
|  |  |  | Z | 1 |  |  |  | Z1 | H5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AV5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CV5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CT5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | AW5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
| B |  |  | Z | 1 |  |  |  | BZ1 | CZ5 | EGJ0013086 | Terminal Block 27 Way | 1 | 5
[5 empty] | 1 |  |  |  | 1 | 6 | EA05001031 | Terminal Block 23 Way with 2 RJ 45 | 1 | 5
[5 empty] | 1 |  |  |  | 1 | 7 | EA05001031 | Terminal Block 23 Way with 2 RJ 45 | 1 | 5
|  |  | 6 | Z |  |  |  |  | 6Z | 0H | EGJ0013087 | Terminal Block 7 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | B0V | EGJ0013087 | Terminal Block 7 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C0V | EGJ0013087 | Terminal Block 7 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C0T | EGJ0013087 | Terminal Block 7 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | B0W | EGJ0013087 | Terminal Block 7 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C0Z | EGJ0013087 | Terminal Block 7 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 1H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A1V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C1V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C1T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A1W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C1Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 2H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A2V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C2V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C2T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A2W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C2Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 3H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A3V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C3V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C3T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A3W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C3Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 4H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A4V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C4V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C4T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A4W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C4Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 5H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A5V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C5V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C5T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A5W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C5Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 6H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A6V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C6V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C6T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A6W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C6Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
|  |  | 6 | Z |  |  |  |  | 6Z | 7H | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A7V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C7V | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C7T | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | A7W | EGJ0013008 | Terminal Block 28 Way | 1 | 24
| B |  | 6 | Z |  |  |  |  | B6Z | C7Z | EGJ0013008 | Terminal Block 28 Way | 1 | 24
[7 empty] | 3 | 0 | 30 | 22 | EGN0060001 | Sealed cover | 1 | 8
[7 empty] | 3 | 0 | 30 | 23 | EGN0060001 | Sealed cover | 1 | 8
[7 empty] | 3 | 0 | 30 | 32 | EGN0060001 | Sealed cover | 1 | 8
[7 empty] | 3 | 0 | 30 | 33 | EGN0060001 | Sealed cover | 1 | 8
[5 empty] | 1 |  |  |  | 1 | 1 | EGN0383004 | Case and Chassis | 1 | 1, 4, 12 | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 2 | EGN0383004 | Case and Chassis | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 3 | EGN0383004 | Case and Chassis | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 4 | EGN0383004 | Case and Chassis | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 5 | EGN0383004 | Case and Chassis | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 6 | EA05001028 | Case and Chassis | 1 | 1, 4, 12
[5 empty] | 1 |  |  |  | 1 | 7 | EA05001028 | Case and Chassis | 1 | 1, 4, 12
[11 empty] | EZB4018118 | Self tapping screw | 16 | 10 | 16 | 10
|  |  | 6 | [5 empty] | 6 | 1 | EZB4018118 | Self tapping screw | 4 | 10
|  |  | 6 | [5 empty] | 6 | 2 | EZB4018118 | Self tapping screw | 4 | 10
|  |  | 6 | [5 empty] | 6 | 3 | EZB4018118 | Self tapping screw | 4 | 10
|  |  | 6 | [5 empty] | 6 | 5 | EZB4018118 | Self tapping screw | 4 | 10
|  |  | 6 | [5 empty] | 6 | 6 | EZB4018118 | Self tapping screw | 4 | 10 | 4 | 10
|  |  | 6 | [5 empty] | 6 | 7 | EZB4018118 | Self tapping screw | 4 | 10
[5 empty] | 1 |  |  |  | 1 | 6 | EZB4018118 | Self tapping screw | 8 | 10
[5 empty] | 1 |  |  |  | 1 | 7 | EZB4018118 | Self tapping screw | 8 | 10
[5 empty] | 1 |  |  |  | 1 | 6 | E2072109A01 | Ethernet board | 1 | 31
[5 empty] | 1 |  |  |  | 1 | 7 | E2072109A01 | Ethernet board | 1 | 31
[5 empty] | 1 |  |  |  | 1 | 6 | EA05001282 | Ethernet screen plate | 1 | 30
[5 empty] | 1 |  |  |  | 1 | 7 | EA05001282 | Ethernet screen plate | 1 | 30
[7 empty] | 3 | 0 | 30 | 21 | EZB4018119 | Self tapping screw | 4 | 19
[7 empty] | 3 | 0 | 30 | 31 | EZB4018119 | Self tapping screw | 4 | 19
[7 empty] | 3 | 0 | 30 | 23 | EZB4018119 | Self tapping screw | 4 | 19
[7 empty] | 3 | 0 | 30 | 33 | EZB4018119 | Self tapping screw | 4 | 19
|  |  |  | Z |  |  | 3 |  | Z3 | T1 | EZB4018119 | Self tapping screw | 4 | 19
|  |  |  | Z |  |  | 3 |  | Z3 | U1 | EZB4018119 | Self tapping screw | 4 | 19
[11 empty] | EA00026928 | VCI Bag | 1 |  | 1
[11 empty] | EZB5017036 | Washer | 6 | 13 | 6 | 13
[11 empty] | EZB5321126 | Screw M3 X 16 recessed pan head steel | 6 | 9 | 6 | 9
1

## Database (hidden)
1
1 | Standard HMI display | 2 | 12 | 13 | 14 | French | English / American | Spanish | German | Italian | Russian | Polish | Portuguese | Dutch | Czech | Hungarian | Greek : not available | Turkish |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | A | B | * | E
2 | Graphical HMI display (Chinese HMI or with 2 CTs measurement) | 3 | 12 | 13 | 14 | Chinese | French | English / American | Spanish | German | Italian | Russian | Polish | Portuguese | Dutch | Czech | Hungarian | Greek : not available | Turkish | D | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | A | B | * | E
1 | 0.1 to 40 Ion | A
2 | 0.01 to 8 Ion | B
3 | 0.002 to 1 Ion | C
1 | 57 - 130 V | A
2 | 220 - 480 V | B
1 | 48 - 250 Vdc / 48 - 240 Vac
2 | 24 - 250 Vdc / 48 - 240 Vac
1 | 24 - 250 Vdc / 24 - 240 Vac | Z | 12 | Digital Input Voltage Table (driven by phase and auxiliary voltage)
2 |  | * | 11 | 105 - 145 Vdc (special application) | 24 - 250 Vdc | 110 Vdc - 30% / +20% (special application) | 220 Vdc - 30% / +20% (special application) | H | T | V | W
3 |  | * | 12 | 24 - 250 Vdc / 24 - 240 Vac |  |  |  | Z | * | * | *
4 |  | * | 21 | 105 - 145 Vdc (special application) | 24 - 250 Vdc | 110 Vdc - 30% / +20% (special application) | 220 Vdc - 30% / +20% (special application) | H | T | V | W
|  |  | 22 | 24 - 250 Vdc / 24 - 240 Vac |  |  |  | Z | * | * | *
1 | MODBUS / MODBUS (if 2nd RS485 available) | 1
2 | KBUS / COURIER / MODBUS - not available | *
3 | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | 3
4 | DNP3 / MODBUS (if 2nd RS485 available) | 4
5 | IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) | 5
6 |  | 5
7 |  | 5
1 | French | 0
2 | English / American | 1
3 | Spanish | 2
4 | German | 3
5 | Italian | 4
6 | Russian | 5
7 | Polish | 6
8 | Portuguese | 7
9 | Dutch | 8
10 | Czech | A
11 | Hungarian | B
12 | Greek : not available | *
13 | Chinese | D
14 | Turkish | E
1 | None | 0 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) |  |  |  | 1 | * | 3 | 4 | 4 | 4 | 4
2 | Additional 5 digital inputs | 1 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) |  |  |  | 1 | * | 3 | 4 | 4 | 4 | 4
3 | IRIG-B inputs + additional 2nd rear port | 2 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) | IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) |  |  | 1 | * | 3 | 4 | 5 | 5 | 5
4 | IRIG-B inputs + additional 2nd rear port + additional 5 digital inputs | 3 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) | IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) |  |  | 1 | * | 3 | 4 | 5 | 5 | 5
5 | Measurement CTs | 4 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) |  |  |  | 1 | * | 3 | 4 | 4 | 4 | 4
6 | Measurement CTs + additional 5 digital inputs | 5 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) |  |  |  | 1 | * | 3 | 4 | 4 | 4 | 4
7 | Measurement CTs + IRIG-B input + additional 2nd rear port | 6 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) | IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) |  |  | 1 | * | 3 | 4 | 5 | 5 | 5
8 | Measurement CTs + IRIG-B input + additional 2nd rear port + additional 5 digital inputs | 7 | MODBUS / MODBUS (if 2nd RS485 available) | KBUS / COURIER / MODBUS - not available | IEC60870-5-103 / MODBUS (if 2nd RS485 available) | DNP3 / MODBUS (if 2nd RS485 available) | IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available) |  |  | 1 | * | 3 | 4 | 5 | 5 | 5
Z
* | Valid Auxiliary and Digital Input voltages required | ? |  |  |  | * | * | * | *
A | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
F | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
H | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
M | Not applicable :
T | Mounting option : | Pre-Fixed HMI (no withdrawability) | Pre-Fixed HMI + Sealed Cover |  |  | 1 | 3 | 3 | 3
U | Not applicable :
V | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
W | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
Z | Mounting option : | None (default) | Pre-Fixed HMI (no withdrawability) | Sealed Cover | Pre-Fixed HMI + Sealed Cover | 0 | 1 | 2 | 3
1 | None (default) | 0
2 | Pre-Fixed HMI (no withdrawability) | 1
3 | Sealed Cover | 2
4 | Pre-Fixed HMI + Sealed Cover | 3
|  | 6 | GA | Software Version V16.A | [26 empty] | C
1 | Software Version V16.A | 1 | 16.A | GA | [25 empty] | A
2 | Software Version V15.E | 2 | 15.E | FE | [25 empty] | A
3 | Software Version V15.C - not available with Graphical LCD | 3 | * | ** | [25 empty] | A
4 | Software Version V15.B - not available with Graphical LCD | 4 | * | ** | [25 empty] | A
5 | Software Version V12.A - not available with Measurement CTs | 5 | * | ** | [25 empty] | A
6 | Software Version V10.D - not available with Optional Features | 6 | * | ** | [25 empty] | C
| Software Version V14.A - not available with Measurement CTs | 0 | * | ** | Obsoleted 12/2/15 | [24 empty] | A
| Software Version V11.C - not available with Measurement CTs | 0 | * | ** | Obsoleted 10/9/13 | [24 empty] | C
| Software Version V15.A - not available with Measurement CTs | 0 | * | ** | [25 empty] | A
|  | 0 | 11.B | BB | Hidden under rationalization project | [24 empty] | A
|  | 0 | 11.A | BA | Hidden under rationalization project | [24 empty] | C
|  |  | 0 | Awaits V14.A | [27 empty] | A
HMI | Graphical HMI
1 | Latest software version V14.A | 1 | 13.A | DA | [25 empty] | A

## Tendering
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Cortec Landing cell : | P127AA4Z123FB0 | P | 1 | 2 | 7 | A | A | 4 | Z | 1 | 2 | 3 | F | B | 0
Configurator feedback : | P127BA6Z113GA0 | P | 1 | 2 | 7 | B | A | 6 | Z | 1 | 1 | 3 | G | A | 0 | double digit in same row
Cortec digit control 1 | [16 empty] | 5 | bar: 1
Cortec digit control 2 | [16 empty] | 6 | bar: 2
Cortec digit control 3 |  | 3: 2 |  | 7
Cortec digit control 4 |  | 4: 7 |  | 8
Earth Current Input | 2 | [15 empty] | 9 | bar: 5
Voltage Input | 1 | [15 empty] | 10 | bar: 6
Optional Features | 7 | 7: 6 |  | 11
Auxiliary Voltage / Digital Input Voltage | 2 | [15 empty] | 12 | bar: 8
DI Voltage | 1 | [15 empty] | 13
Communication | 1 | [15 empty] | 14 | bar: 9
Default HMI (Human / Machine Interface) Language | 2 | 10: 1; 11: 3 |  | 15
Software Version : | 1 | [15 empty] | 16 | bar: 12 to 13
Mounting Option : | 1 | 14: 0 |  | 17
0
0
0
0
0
0
0
0
0
0
0
0
0
Authorized?

## Date Drivers (hidden)
2026-07-30 | 2010-01-06
Hardware Version | Standard HMI display
Graphical HMI display (Chinese HMI or with 2 CTs measurement)
2
3
Earth Current Input | 0.1 to 40 Ion
0.01 to 8 Ion
0.002 to 1 Ion
A
B
C
Auxiliary Voltage | 48 - 250 Vdc / 48 - 240 Vac
24 - 250 Vdc / 48 - 240 Vac
Communication | MODBUS / MODBUS (if 2nd RS485 available)
KBUS / COURIER / MODBUS - not available
IEC60870-5-103 / MODBUS (if 2nd RS485 available)
DNP3 / MODBUS (if 2nd RS485 available)
IEC60870-5-103 / IEC60870-5-103 (if 2nd RS485 available)
1
*
3
4
5
HMI : P125 | French
English / American
Spanish
German
Italian
Russian
Polish
Portuguese
Dutch
Czech
Hungarian
Greek : not available
Turkish
Chinese
P125 | 0
1
2
3
4
5
6
7
8
A
B
*
E
D
Software Version | Latest software version
Software version
Major : P125 | C
B
A
Minor: P125 | A
C
B
A
D
Digital Input Voltage | 24 - 250 Vdc
105 - 145 Vdc (special application)
110 Vdc - 30% / +20% (special application)
220 Vdc - 30% / +20% (special application)
24 - 250 Vdc / 24 - 240 Vac
T
H
V
W
Z
*
*
*
Major | V14.
V12.
V11.
V10.
Voltage input | Voltage input
57 - 130 V
220 - 480 V
A
B
Optional features : | Optional features :
None
Additional 5 digital inputs
IRIG-B inputs + additional 2nd rear port
IRIG-B inputs + additional 2nd rear port + additional 5 digital inputs
Measurement CTs
Measurement CTs + additional 5 digital inputs
Measurement CTs + IRIG-B input + additional 2nd rear port
Measurement CTs + IRIG-B input + additional 2nd rear port + additional 5 digital inputs
0
1
2
3
4
5
6
7
Pre-fixed HMI : | Mounting option :
None (default)
Pre-Fixed HMI (no withdrawability)
Sealed Cover
Pre-Fixed HMI + Sealed Cover
0
1
2
3